# BOEC ENGINEERING CONSULTANTS CALIBRATION CERTIFICATE - MCC15-07

SANAS Accredited Calibration Laboratory No: CAL-2024-07 | ISO/IEC 17025:2017 Compliant

Certificate No: BOEC_CERT_6ea1b3f6 | Template Version: MCC15-07 v2.1

Calibration Date: 2026-09-12 | Procedure: CP-02-08 / ISO4037-3

Technician: T. Dlamini (SANAS Signatory) | Reference Standard: Cs-137 S-1029

# 1. Client Information - POPIA Protected

Client: Anglo American Radiation Services
Contact: Quality Assurance Dept
Address: Roodepoort, Gauteng, South Africa
POPIA Ref: POPIA-BOEC_C

# 2. Instrument Under Test

Instrument ID / Serial: SN-2026-9941 / SN-2026-9941
Model / Type: Ludlum Model 14C Survey Meter / Radiation Survey Instrument
Manufacturer: BOEC Instrument Co.
Background Radiation: 0.12 mSv/h

# 3. Environmental Conditions - ISO4037-3 Clause 7

Temperature: 21.8 °C (Req: 18-24°C)
Humidity: 42.5 % (Req: 30-60%)
Pressure: 85.2 kPa

# 4. Approval and Digital Signature

Calibrated by: T. Dlamini (SANAS Signatory) | Date: 2026-09-12
Reviewed by: M. van der Merwe (Quality Manager) | Approved by: Dr. K. Naidoo (Technical Signatory)
Digital Signature: BOEC-RSA2048-SIG-97933D9D5C34906E
Hash: 97933d9d5c34906eaf3c3719f19cbbedb79742703c5e404ba07d752671fe0cc7
Signing Method: RSA-2048 / SHA256 (BOEC Local HSM / SANAS Compliant)
Status: RELEASED - REVIEW